## CT Makeup
Calculation authored and generated by CTC Design, Inc.
Sheet Filename & Title: Cooling Tower Makeup Water |  | Rev Date: | 2009-06-11
Sheet Rev No: 2 |  | Print Date: | 2026-07-30
Project Name & Number
Cooling Tower Specifications
Cooling Tower Air Flow | 107000 | ft3 / min
Cooling Tower Water Flow | 1000 | gal / min
Blowdown Cycle | 4 | Cycles
Range Temperature | 10 | F
Cooling Tower Water Flow | 8345 | lbw / min
Cooling Tower Air Flow | #NAME? | lba / min
Entering Air Design Conditions
Dry Bulb Temperature - DB | 93 | F
Wet Bulb Temperature - WB | 68 | F
Humidity Ratio | #NAME? | lbw / lba
Enthalpy | #NAME? | btu / lba
Discharge Air Conditions
Discharge Air Saturation Point - Enter a Temperature so both enthapy values below are equal. | 80 | WD & DB
Enthalpy Based on Psycometrics at Saturation | #NAME? | btu / lba
Calcualted Discharge Air Enthalpy | #NAME? | btu / lba
Humidity Ratio | #NAME? | lbw / lba
Specific Volume | #NAME? | ft3 / lba
Evaporation Rate
Specific Evaporation | #NAME? | lbw / lba
Evaporation Rate | #NAME? | lbw / min
| #NAME? | gal / min
Blowdown Drain | #NAME? | gal / min
Safety Factor | 0% | #NAME?
Total Makeup | #NAME? | gal / min
© CTC Design, Inc. This file and it’s content is the exclusive property of CTC Design, Inc. It’s intended for CTC Design, Inc. use only and is not to be used by others without written permission from CTC Design, Inc.